Classroom/Bauer 3 Notes, Questions and Comments

Version 10 – Aug 1, 2011

Functional Changes:

- Room 304 J

Change function to a Conference Room. The reduces the office space

count in suite 304 by 1 office.  A typical conference. (e.g., room 424S):

seating for 10-12; flat screen; AV controls; input at the table.

Finish Issues:

- GPP has requested that floor finishes in:

  - the two MBA lounges (room 408 and room 300) NOT be carpeted

because of food/sanitation issues.

  - Flat classroom 410 is carpeted. No carpet if we could work out sound attenuation. They may be eating in the room

Furniture/Equipment Issues

- Room 410

Shows 54 students. It needs 60 seats. Can we try 8 person tables on the interior aisles (three of them) and leave the exterior tables with six.

- Room 408 needs 60 seats at tables at the expense of soft seating.

- Room 512C and 512B – add small conference table for 4

- Rooms 402H and 402C –convert to single occupancy, add small 4 person conference table

- Cable TV Wiring –The following 14  rooms need coaxial cable (RJ6) runs from the wall receptacle of the flat screen back to the floor’s IDF:

1st Floor:

139

3rd Floor:

330, 314, 316, 304L, 302B, 300

4th Floor:

424 T (see below), 424X, 408

5th Floor:

510, 522, 536, 504

- Remove one of the flat screens from 424T, keep the one on the east wall,

remove the one on the north wall.

- First Floor – there are two Bauer support rooms on the first floor. Room

129 and an un-numbered room to the south. Please provide a room number. Both these rooms should be configured as double occupancy offices. Title both rooms: “Bauer Support Staff”

- Room 310 – provide 4 extra chairs

- AV Checklist – see separate attachment:

CBB_AV_08_01_2011.xls

  - Room 316 show 6 FSD (2 rows of 3) NOT 4

  - Break rooms 302B and 304K need FSD

  - Room 424T remove north wall FSD, leave east wall FSD