**Classroom/Bauer 3 Notes, Questions and Comments**

**Version 10 – Aug 1, 2011**

**Functional Changes:**

1. Room 304 J

Change function to a Conference Room. The reduces the office space

count in suite 304 by 1 office. A typical conference. (e.g., room 424S):

seating for 10-12; flat screen; AV controls; input at the table.

**Finish Issues:**

1. GPP has requested that floor finishes in:
   1. the two MBA lounges (room 408 and room 300) NOT be carpeted

because of food/sanitation issues.

* 1. Flat classroom 410 is carpeted. No carpet if we could work out sound attenuation. They may be eating in the room

**Furniture/Equipment Issues**

1. Room 410

Shows 54 students. It needs 60 seats. Can we try 8 person tables on the interior aisles (three of them) and leave the exterior tables with six.

1. Room 408 needs 60 seats at tables at the expense of soft seating.
2. Room 512C and 512B – add small conference table for 4
3. Rooms 402H and 402C –convert to single occupancy, add small 4 person conference table
4. Cable TV Wiring –The following 14 rooms need coaxial cable (RJ6) runs from the wall receptacle of the flat screen back to the floor’s IDF:

1st Floor:

139

3rd Floor:

330, 314, 316, 304L, 302B, 300

4th Floor:

424 T (see below), 424X, 408

5th Floor:

510, 522, 536, 504

1. Remove one of the flat screens from 424T, keep the one on the east wall,

remove the one on the north wall.

1. First Floor – there are two Bauer support rooms on the first floor. Room

129 and an un-numbered room to the south. Please provide a room number. Both these rooms should be configured as double occupancy offices. Title both rooms: “Bauer Support Staff”

1. Room 310 – provide 4 extra chairs
2. AV Checklist – see separate attachment:

CBB\_AV\_08\_01\_2011.xls

* 1. Room 316 show 6 FSD (2 rows of 3) NOT 4
  2. Break rooms 302B and 304K need FSD
  3. Room 424T remove north wall FSD, leave east wall FSD